## Slide 1: Neutron Dosimetry/ Spectrometry for the Purpose of Calibration in Vietnam
Le Ngoc Thiem Email: Thiem.LNT@gmail.com
Institute for Nuclear Science and Technology
179 Hoang Quoc Viet, Cau Giay, Hanoi, Vietnam

## Slide 2: CONTENTS
Introduction to INST (Vinatom)
Materials investigated at INST
Establishment of Neutron Calibration Fields at INST (Vietnam)
Summary

## Slide 3: Introduction to INST (Vinatom)
Ministry of Science and Technology (MOST)
VINATOM (Technical Supporting Organization)
VARANS (Authority body)
INST (Hanoi)
OTHERS (Dalat, HCM, Hanoi, Danang)
Domestic Calibrations of Ionizing radiation measuring devices including neutron meters
Available Calibration Fields:
Gamma
X-ray
Neutron
Neutron Calibration Fields have been established since 2015
252Cf
241Am-Be
Moderated 241Am-Be

## Slide 4: Materials investigated at INST (related to neutron dosimetry)

## Slide 5
1. Neutron source and calibration room

## Slide 6
Photo of neutron calibration room

## Slide 7: 2. Bonner Sphere Spectrometer (BSS)

## Slide 8: 3. ISO standards: ISO 8529, ISO 12789

## Slide 9
4. MCNP SIMULATION

## Slide 10
Readings from the different BSS spheres (i=1-6)
Response Functions of BSS spheres – IAEA Pub./Sim.
Spectrum (Initial guess needed)
Solution Spectrum, 
5. Unfolding codes: MAXED, GRAVEL, FRUIT, MSITER, etc
+

## Slide 11: Neutron Calibration Fields Established at INST (VN)
      + 01 Low Neutron Strength Calibration Field of a Bare 252Cf Source
      + 01 Medium Neutron Strength Calibration Field of a Bare 241Am-Be Source
      + 05 Moderated Neutron Calibration Fields of 241Am-Be Source

## Slide 12: 1. Neutron Calibration Field of 252Cf Source

## Slide 13
a. Neutron Spectra
(Distribution of neutron fluence rate as a function of neutron energy)

## Slide 14: b. Spacial distribution of neutron fluence rate
X
Y

## Slide 15: c. Shielding efficiency of the Shadow Cone

## Slide 16: 2. Neutron Calibration Field of 241Am-Be Source

## Slide 17: Experimental Flow Chart
Direct-nSpec
Resp. Function
Guess Spec
Scattered
Count Rate
Direct
Count Rate
ISO 8529
Fitting
unfolding
unfolding
Total-nSpec
BSS Total Count Rate
Scatterred-nSpec
Tot-nDE
ICRP74
Dir-nDE
ISO
=
Total-Direct
1
2
3
4
5
5’
2’
6
6’

## Slide 18: Calculation of n-H*(10) from n-Spec
Tot-nDE
Dir-nDE
Tot-nDE – Dir-nDE = Sct-nDE
FF-nDE
1
2
1’
2’
3
4

## Slide 19
Total count rate
(DiR, SCT) Count rate
seperation
Diff. Component
Count rate
Fitting
Fitting Reliability
unfolding

## Slide 20
N-Spectra
N-Dose Equivalent)
Next-slide

## Slide 21
Total N-Dose Equivalent Rates

## Slide 22
DIRECT N-Dose Equivalent Rates

## Slide 24
60
1.030
    Neutron source anisotropy correction factor - F1()

## Slide 25: 3. Simulated Workplace Neutron Calibration Field of 241Am-Be Source

## Slide 26: Neutron Spectra

## Slide 27: n-H*(10) vs Distance from the source

## Slide 28: Total n-Fluence Rate vs Distance

## Slide 29:  to H*(10) conversion factor, h(10)

## Slide 30: Etb-DE vs Distance

## Slide 31: Summary
07 neutron calibration fields have been established at INST
Neutron spectrum at the point of interest has been determined
Neutron dose equivalent rate at the point of interest has been investigated
Conventional true values of the interested quantities have been calculated
Calibrations of Neutron measuring devices are ready at INST

## Slide 32: References
Thiem Ngoc Le et al.; Characterization of a neutron calibration field with 241Am−Be source using Bonner sphere spectrometers; Applied Radiation and Isotopes; Vol. 133, 2018, pp. 68–74.
Thiem Ngoc Le et al.; Neutron calibration field of a bare 252Cf source in Vietnam; Nuclear Engineering and Technology; Vol. 49(1),2017, pp. 277–284.
Thiem Ngoc Le et al.; Neutron calibration field at Institute for Nuclear Science and Technology; Nuclear Science and Technology; Vol. 6(4), 2016; pp. 1–7.

## Slide 33: Thank you for your attention